## Slide 1
MAINTAINIQ
Explainable MongoDB-Native Decision Support for Industrial Asset Health Monitoring
Detect anomalies → Score health → Prioritize → Explain → Act
Notes: Good morning. Our project is MaintainIQ, an industrial asset monitoring decision-support platform. Instead of stopping at anomaly detection, we convert sensor readings into interpretable health scores, ranked maintenance attention and explanations. MongoDB is used for time-series data and database-side scoring.

## Slide 2
WHY THIS PROJECT
The practical problem: detection is not a decision
MAINTAINIQ • CSE3086 NoSQL Databases
02
What sensors provide
Pressure, temperature, motor-current and digital state readings collected continuously.
What a conventional alarm says
“Anomaly detected” — but not which asset to inspect first or what evidence triggered attention.
What engineers need
How serious is it? Which sensor changed? Which asset matters most? What should I inspect?
WHY IT MATTERS MaintainIQ connects anomaly signals to practical maintenance decisions.
Notes: Begin with a relatable example: a compressor sends thousands of measurements. An anomaly model may flag it, but an engineer still has to interpret its seriousness and decide what to do. Our project targets that gap.

## Slide 3
RELATED WORK
The gap and our contribution
MAINTAINIQ • CSE3086 NoSQL Databases
03
Earlier MetroPT-3 study
An MLP-based autoencoder detected anomalous operating behaviour; the study reported F1 > 0.96 in most cases and warnings up to two hours early.
MaintainIQ extension
Sequence-aware LSTM detection + MongoDB health analytics + maintenance ranking + rule explanations + natural-language access.
WHY IT MATTERS Our claimed contribution is system integration and actionable interpretation, not invention of each algorithm.
Notes: The base paper used an MLP autoencoder, not an LSTM. Its two-hour early-warning finding belongs to that earlier work. We extend the practical direction by building an integrated decision-support workflow.

## Slide 4
SYSTEM OVERVIEW
What we built: one complete workflow
MAINTAINIQ • CSE3086 NoSQL Databases
04
MetroPT-3
Sensor data
MongoDB
Time-series
LSTM AE
Anomalies
DAHI
0–100 health
MAPE
Priority
EME + AMA
Action & query
MongoDB stores timestamped sensor data and computes DAHI through aggregation pipelines; Python performs LSTM inference.
WHY IT MATTERS Each stage produces information needed by the next stage.
Notes: Walk left to right. We collect sensor records, store them in MongoDB, prepare sequences and detect anomalies with the LSTM. DAHI summarizes condition, MAPE ranks maintenance attention, EME gives a reason and action, and AMA lets users ask questions. Important: the neural network runs in Python, not entirely inside MongoDB.

## Slide 5
DATA
Dataset: what we worked with
MAINTAINIQ • CSE3086 NoSQL Databases
05
1,516,948
timestamped records
15
sensor channels: 7 analog + 8 digital
4
documented failure periods
Physical system
MetroPT-3: Air Production Unit (APU) on a metro train in Portugal.
Example features
TP2 / TP3 pressure, oil temperature, motor current, compressor and valve status.
WHY IT MATTERS Many sensor readings do not mean many independent failure cases.
Notes: The large dataset has over 1.5 million readings, but only four known failure episodes. Explain what an APU does: it supports compressed-air systems. We must consider both analog values and digital component states.

## Slide 6
DATA PIPELINE
Implementation step 1: prepare the sensor data
MAINTAINIQ • CSE3086 NoSQL Databases
06
01
Timestamp checks
Sort records; check gaps and duplicates
02
Resample
10-second readings → 1-minute summaries
03
Reduce noise
5-point rolling average for numeric signals
04
Scale
Training-fit Z-score normalization
05
Sequence
60 time steps × 10 selected features
WHY IT MATTERS Chronological preprocessing preserves time patterns and reduces leakage.
Notes: These are the transformations before model training. Numerical samples are averaged by minute, binary ones use mode. A rolling average reduces short spikes. Scaling statistics should be learned only from training data. Each input window then contains 60 observations of 10 selected features.

## Slide 7
NOSQL IMPLEMENTATION
Implementation step 2: use MongoDB as the data backbone
MAINTAINIQ • CSE3086 NoSQL Databases
07
Time-series storage
Every reading is linked to a timestamp and asset ID. MongoDB stores flexible analog and digital sensor fields.
Aggregation pipelines
Operations such as $match, $group, $project and conditional scoring summarize sensor state and compute DAHI.
Sensor document → Filter time/asset → Compute sensor health → Weighted DAHI output
WHY IT MATTERS MongoDB is used for analytics, not only storing records.
Notes: Mention exactly why this is a NoSQL project. The timestamp and asset ID enable time-range queries. MongoDB time-series collections support variable sensor fields; aggregation pipelines perform health computations database-side. The deep-learning model is separate, using Python and TensorFlow.

## Slide 8
MODEL
Implementation step 3: train the LSTM Autoencoder
MAINTAINIQ • CSE3086 NoSQL Databases
08
Input
60 × 10
Encoder
LSTM 64 → 32
Latent
16 units
Decoder
LSTM 32 → 64
Output
Reconstructed
Learning principle
Train on normal sequences. Large differences between input and reconstructed output signal unfamiliar behaviour.
WHY IT MATTERS Reconstruction error is an anomaly indicator, not a failure probability.
Notes: The model sees a sequence of 60 minutes with 10 features. The encoder compresses it, and the decoder attempts to reconstruct it. Normal patterns reconstruct relatively well. Unfamiliar operating patterns have larger error. The training uses MSE loss and Adam optimizer.

## Slide 9
ANOMALY LOGIC
Implementation step 4: classify anomalies
MAINTAINIQ • CSE3086 NoSQL Databases
09
Reconstruction error = mean squared difference between input and reconstructed sequence
Below threshold = normal
Above threshold = anomaly
Threshold: 95th percentile of training reconstruction errors
WHY IT MATTERS A detected anomaly triggers the health-and-decision workflow.
Notes: Explain percentile with an example: learn the normal training error distribution and choose its 95th percentile as the cutoff. Anything higher is flagged. That does not automatically prove that a physical component has failed.

## Slide 10
RESULTS — MODEL
LSTM experiment: what the training shows
MAINTAINIQ • CSE3086 NoSQL Databases
10
0.0168
final training loss
0.0349
final validation loss
10
epochs in reported run
Interpretation
The model learned to reconstruct familiar sequences. Validation loss stayed above training loss; evaluate held-out failure periods to judge detection quality.
WHY IT MATTERS Loss indicates reconstruction fit—not directly detection precision.
Notes: Distinguish training loss from F1. The loss values tell us about reconstruction during training and validation. The larger validation loss suggests there is a generalization gap. For anomaly detection quality, we must look at the test-set metrics.

## Slide 11
RESULTS — ANOMALY DETECTION
Anomaly detection: test outcomes
MAINTAINIQ • CSE3086 NoSQL Databases
11
0.9869
best reported F1-score
0.999
maximum reported ROC-AUC
0.9652
F1 on Test Split 2 using Split 1 training
Important comparison
Using Split 2 training for Test Split 2 yielded F1 = 0.8610. Detection depends on which healthy conditions are represented in training.
WHY IT MATTERS Strong best-case detection, but performance varies by split.
Notes: These are results for MaintainIQ, not the base paper. State carefully that 0.9869 is the best F1 and 0.999 is maximum AUC, not necessarily from the same configuration. Compare the 0.9652 and 0.8610 results to show sensitivity to training context.

## Slide 12
DAHI
Implementation step 5: turn readings into health scores
MAINTAINIQ • CSE3086 NoSQL Databases
12
Sensor health = 0–100 score from deviation around an expected operating value
Asset DAHI = weighted average of sensor health scores
85–100 Low risk
70–84 Medium
40–69 High
0–39 Critical
WHY IT MATTERS The score answers “How healthy is the asset?” instead of only “Is it anomalous?”
Notes: DAHI means Dynamic Asset Health Index. Each sensor is compared with an expected operating range; the health of the whole asset is weighted across sensors. High score means good health. Note that at an exact score of 39.66, a continuous cutoff below 40 implies critical; the integer-band labels are shorthand.

## Slide 13
RESULTS — HEALTH
DAHI result: why COMP_01 needs attention
MAINTAINIQ • CSE3086 NoSQL Databases
13
39.66 / 100
COMP_01 overall health — critical
39.4 / 100
H1 sensor health
49.9 / 100
oil-temperature health
Interpretation
H1 and oil-temperature deviations reduce the composite health score. The dashboard can show engineers which sensors contribute to concern.
WHY IT MATTERS COMP_01 changes from an unexplained anomaly into an interpretable critical-health case.
Notes: Here is our example asset, COMP_01. Its overall score is 39.66, which lies below 40 so it receives critical attention. H1 and oil-temperature have low sensor scores. This demonstrates traceable scoring; the numbers alone cannot prove an underlying root cause.

## Slide 14
MAPE
Implementation step 6: prioritize the maintenance queue
MAINTAINIQ • CSE3086 NoSQL Databases
14
Inputs to ranking
Health urgency (40%) + risk level (25%) + asset criticality (20%) + maintenance history (15%).
Output for COMP_01
Priority score: 84.1. The asset receives elevated attention in a ranked work queue.
All inputs must be normalized to comparable scales before combining weights.
WHY IT MATTERS MAPE answers “Which asset should engineers review first?”
Notes: After DAHI evaluates equipment condition, MAPE ranks urgency. It uses four weights, not just anomaly magnitude. Our example COMP_01 has a priority score of 84.1. Explain that this supports human scheduling, rather than automatically ordering repair work.

## Slide 15
EME
Implementation step 7: explain the flagged condition
MAINTAINIQ • CSE3086 NoSQL Databases
15
Rule 1 — pressure + current
TP2 falls and motor current rises → possible pneumatic leakage → inspect connections and seals.
Rule 2 — oil temperature
Oil temperature > 85°C → abnormal heating condition → check lubrication and cooling.
Rule 3 — protection signal
Low reservoir pressure with LPS = 1 → insufficient pressure indication → immediate technical inspection.
WHY IT MATTERS Explanations are engineering-oriented rule suggestions—not confirmed fault diagnoses.
Notes: EME means Explainable Maintenance Engine. It combines measured signal patterns with a rule library. Instead of only saying anomaly, it tells an engineer what was observed and suggests a safe inspection. We must avoid claiming each rule identifies the true physical cause with certainty.

## Slide 16
AMA
Implementation step 8: ask questions in ordinary language
MAINTAINIQ • CSE3086 NoSQL Databases
16
“Which asset needs attention?”
Return ranked assets from MAPE.
“Show COMP_01 health.”
Read latest DAHI and sensor evidence.
“Why was it flagged?”
Retrieve the matched EME rule and action.
WHY IT MATTERS AMA makes stored maintenance information easier to access without writing MongoDB queries.
Notes: AMA is an agentic-style maintenance interface for supported query types. A user asks a question, the interface identifies a supported intent, performs a controlled read-only database query and summarizes the result. This is not a system that should autonomously alter industrial equipment.

## Slide 17
INTEGRATED OUTCOME
One end-to-end example: what the engineer receives
MAINTAINIQ • CSE3086 NoSQL Databases
17
1. Signal
Sensor sequence differs from normal
2. Health
COMP_01 DAHI = 39.66 → critical
3. Ranking
MAPE = 84.1 → high attention
4. Context
Weak H1 / oil-temperature health
5. Next step
Review matched rules and inspect safely
WHY IT MATTERS This is the central value of MaintainIQ: moving from detection to explainable action.
Notes: Use this slide as the project demo narrative. We go from a sensor anomaly to a critical health summary, maintenance ranking, specific supporting sensor evidence and a practical inspection starting point. This integration is more useful than a single abnormal label.

## Slide 18
RESULTS — NOSQL
Database evaluation: MongoDB versus MySQL
MAINTAINIQ • CSE3086 NoSQL Databases
18
72.2%
lower aggregation query latency in tested setup
99.9%
lower schema-change time in tested setup
31%
smaller storage footprint in tested setup
How to interpret the comparison
These measured percentages apply to the chosen workload and configuration; they do not mean MongoDB is always faster than MySQL.
WHY IT MATTERS MongoDB offered advantages for the evaluated flexible sensor/time-series workload.
Notes: Highlight why this belongs in a NoSQL course. MongoDB’s time-series structure and aggregation framework align with the project workload. The reported latency improvement is 72.2% and storage saving 31%. Avoid saying MongoDB universally beats relational databases; configuration and indexes matter.

## Slide 19
PROJECT OUTCOME
What the project achieved
MAINTAINIQ • CSE3086 NoSQL Databases
19
Technical outcome
A unified pipeline for time-series storage, LSTM anomaly detection and database-native health analytics.
Decision outcome
A numeric asset health score, ranked maintenance queue and understandable rule-based explanations.
User-facing outcome
A dashboard and natural-language interface concept for finding health, priorities and sensor context.
Evidence shown
Best F1 0.9869; maximum AUC 0.999; COMP_01 DAHI 39.66; priority 84.1; scoped DB benchmarks.
WHY IT MATTERS Success means more useful maintenance intelligence—not just a high F1-score.
Notes: Summarize accomplishments rather than repeating the entire implementation. The project combines model output with explainable scoring and triage. The result is an integrated framework for practical decisions, backed by sample asset outputs and model/database benchmarks.

## Slide 20
LIMITATIONS
What remains to validate
MAINTAINIQ • CSE3086 NoSQL Databases
20
Dataset limitation
One APU, four documented failure events; broader generalization requires other assets and failure types.
Model reproducibility
Training splits and final layer definition should be checked against the executed configuration.
Decision support validation
Rule recommendations and maintenance ranking need technician-led evaluation.
Operational impact
No controlled production study yet demonstrates reduced downtime or repair cost.
WHY IT MATTERS Future work is validation in diverse, real maintenance environments.
Notes: This is an important honest conclusion. Only four documented failures limit generalization. The rules and ranked priorities need expert validation, and the reported benchmark results need fully controlled reproducibility. Our project has not demonstrated avoided downtime in a live railway deployment.

## Slide 21
CONCLUSION
Conclusion: from anomaly alerts to maintenance decisions
MAINTAINIQ • CSE3086 NoSQL Databases
21
MaintainIQ makes industrial sensor data more understandable, actionable and accessible.
Key contribution
MongoDB-native health scoring combined with LSTM anomaly detection, prioritization, rule-based explanation and natural-language retrieval.
THANK YOU • QUESTIONS?
Notes: In conclusion, MaintainIQ moves beyond detecting anomalies. Its main innovation is converting readings into clear condition information and maintenance priorities. Thank the audience and invite questions.